Softwall Specifications

Clean room check list:

- Size of the room (lengthxwidth) :		1.3 x 1.9 m

- Internal height:				2.0 m

- Class:					<= 10,000

- Gap between curtain and floor:		to be calculated

- Softwall Material:				Polysim 509

- For the 4 room sides:			- clear strips shields

- Flex Track

- Fan Filter Unit:				FFU with HEPA, 220V, 50Hz, 2” x 4”

+ possibilty to install air-unit pipe on the 						top (page 196) ( cooled air directly to 						FFU

- 4 Casters

- NO light

# Text boxes

Flex track