## Slide 1
2 BLUE diode lasers
1 GREEN laser
1 RED laser to be ordered during LS2
2nd GREEN as spare
1 optical table, 2 lasers
Attenuation controller SHOT102, shutter
DP2-447 blue
Shutter + attenuator
Green laser

## Slide 3
HCAL LASER
ECAL LASERS

## Slide 4
3500
Laser 5
Laser 4
DP2-447
3900
3500
1700
1270
ECAL fibre
Door 1
interlock
Door 2
interlock
Laser shutter
Laser shutter
Laser shutter
ECAL
HCAL
Safety Door
interlock
Door 4
Door 5
SAS
Laser shutter
Sign1: automatic ON/OFF control with lasers ON/OFF . ? Laser signal ?
Sign2 : manual ON/OFF operation : inform users in case of maintenance on ECAL racks
Sign2 : Maintenance ON/OFF
Sign1 : ON/OFF

## Slide 5
Sign2
4
Main
Door
1
2
3
Sign1
1
2
3
Sign2
4
4
4
4
Laser shutters
(x1 HCAL, x3 ECAL)
Door interlock system with Laser shutters

## Slide 6
1
4
2
3
Sign2
Door interlock system with Laser shutters
AND gate
OR gate
ICS
SAFETY LOGIC PLUS
ICS: connection to all shutters
Sign1 at the entrance: automatic ON/OFF control with lasers ON/OFF possible if we have laser power ON/OFF signal
 Add one extra safety logic plus

## Slide 7: BACK UP

## Slide 8
Shutter interlock on the laser itself:
Laser shutter on the main beam:

## Slide 9: H4 installation 2016