Liberty Industries, Inc.

133 Commerce St.

East Berlin, CT 06023

# July 8, 2004

CERN

Geneva 23, CH1211

Att: David Bailleux

david.bailleux@cern.ch

Thank you for the opportunity to quote your Softwall Cleanroom requirement.

# Model VFCS- Vertical Flow Component System (Softwall Cleanroom) .

VFCS, ISO7 (Class 10,000),  6’ x 8’ x 7’6”  high (ID)

Outside dimension will be 105” high.

Price $ 3,940.00 each Net  (US Dollars)

## Optional Export Crating (if desired) $400.00

CONSTRUCTION:  Tubular cold rolled steel welded frame primed and finished in black or white paint. The ceiling frame is of welded construction for fast and efficient assembly. The system will contain our MAX8000 HEPA filter module.

FILTRATION:  Liberty Max 8000 motorized ceiling filtration modules. (1 is included). Each MAX8000 is 2’x 4’, and contains a HEPA filter that is 99.99% efficient at 0.3 microns and larger and with a 1” dust guard prefilter. HEPA filter face is 100% scanned per federal standard 209. MAX8000 units are not DOP tested.

LIGHTING:   Lighting is from fluorescent light fixtures.

CURTAINS:  40 mil clear solid curtain around the perimeter to within one foot of the floor. One 4’ wide strip curtain section is included for entry/exit.

BLOWERS :      1/3hp – 220V/50HZ and  will deliver air pressure up to twice the starting static pressure of the filter.

SHIPPING:  FOB Shipping Point.  No freight is included in prices. All Freight charges will be collect.

TERMS: Schedule B follows.

Quote valid for 90 days.

Unit requires assembly, wiring and certification by customer.  Unit will be shipped as a kit for the customer to put together.

Lead-time is estimated at 4 - 6 weeks after receipt of signed drawings; drawings will be issued after receipt of the purchase order and payment.  Lead time is quoted as an estimate only.   Due to fluctuations in backlog actual delivery dates cannot be assigned until the order is received, or appropriate drawings are returned to us approved.  Lead time is based on our current backlog and may be different when the order is placed.

Thank you for the opportunity to quote your needs. If you should have any questions or require further clarification; please let us know.

Thank You ,

Greg Bunnell