## Slide 1
Lasers
- Dp2-1 running online from February without problem.
Usual maintenance
12 Oct :shutter error time to time , no blue on some region.
25 Sept, 7 Oct : ecalod-laser-xdaq crashes : clean the optic of the VME bridge
22 July, 9/16/24August,
14/30 Sept ,4 Oct : lightchecker or dB writing bad/error (fill color , mirror lightChecker, dB ..)
27 May :changed PC for the lightChecker process : was running on standard desk PC on laser room.
Now it is on laser farm http://srv-ecal-laser-13.cms/laser-fastcheck/.
May : new green laser. changed timing on EMTC.

## Slide 2
Blue lasers work with no degradation at all since one year.
Second DP2 laser keep in standby mode all the time to be ready anytime
(cooling ON and diode ON at 0A)

## Slide 3
History from February. Very good performance under specifications.
(double peak on energy come from the first pulses of each burst (removed for the calibration data)